## Index
Fractionation of sulfide-phases controls the chalcophile-metal budget of arc magmas: Evidence from the Chilas Complex, Kohistan arc, Pakistan
Ahmad et al.
Electronic Supplementary Material (ESM)
INDEX
Table A1. Copper, Ni, Co, and Au composition of standard reference material and blanks from Act labs.
Table A2. Measured PGE and Os isotopic ratios from GP-13 standard and blanks, Arctic Resources Laboratory, the University of Alberta
Table A3. Reference materials and values used forLA-ICP-MS data calibration and validation
Table A4. Calculated parental and derivative magma compositions for the Chilas Complex

## A1
Table A1. Copper, Ni, Co, and Au composition of standard reference material and blanks from Act labs.
Satndard | Cu (ppm) | Ni (ppm) | Co (ppm) | Au (ppb)
GXR-1 Measured | 1060 | 43 | NA | NA
GXR-1 Certified | 1110 | 41 | NA | NA
GXR-4 Measured | 6380 | 42 | NA | NA
GXR-4 Certified | 6520 | 42 | NA | NA
SDC-1 Measured | 28 | 38 | NA | NA
SDC-1 Certified | 30 | 38 | NA | NA
GXR-6 Measured | 67 | 30 | NA | NA
GXR-6 Certified | 66 | 27 | NA | NA
SAR-M (U.S.G.S.) Measured | 339 | 50 | NA | NA
SAR-M (U.S.G.S.) Certified | 331 | 41.5 | NA | NA
DNC-1a Measured | 96 | 266 | NA | NA
DNC-1a Certified | 100 | 247 | NA | NA
SBC-1 Measured | 34 | 92 | NA | NA
SBC-1 Certified | 31 | 82.8 | NA | NA
W-2a Measured | NA | NA | 45.5 | NA
W-2a Certified | NA | NA | 43 | NA
CDN-PGMS-22 Measured | NA | NA | NA | 1190
CDN-PGMS-22 Certified | NA | NA | NA | 1230
Method Blank | 3 | < 1 |  | < 1
Method Blank | 2 | < 1
Method Blank | 5 | < 1
Method Blank | < 1 | < 1
NA= not applicable

## A2
Table A2. Measured PGE and Os isotopic ratios from GP-13 standard and blanks, Arctic Resources Laboratory, the University of Alberta
Standard | Os (ppb) | Ir (ppb) | Ru (ppb) | Pt (ppb) | Pd (ppb) | Re (ppb) | 187Os/188Os
GP-13 | 3.6846 | 3.862 | 6.7995 | 8.6038 | 6.7727 | 0.31755 | 0.12664
GP-13 | 3.5397 | 3.0924 | 6.7814 | 6.7986 | 5.7849 | 0.28986 | 0.12632
Average | 3.6122 | 3.4772 | 6.7905 | 7.7012 | 6.2788 | 0.30371 | 0.12648
1σ | 0.10245 | 0.54421 | 0.01275 | 1.2765 | 0.69845 | 0.01958 | 0.00022547
Published values | 3.4889 | 3.4045 | 6.6091 | 6.8091 | 5.709 | 0.3165 | 0.12635
1σ | 0.8727 | 0.13079 | 0.52906 | 0.62292 | 0.29979 | 0.027055 | 0.00018207
Blank | 0.0017 | 0.042494 | 0.018582 | BLD | 0.0044515 | 0.0039243 | 0.16105
Blank | 0.0014 | 0.0015343 | 0.052011 | 0.0046553 | 0.017391 | 0.0073284 | 0.19512
Blank | 0.00068 | 0.0062094 | 0.01106 | 0.0013757 | 0.023983 | 0.0034439 | 0.18051
Blank | 0.00022 | 0.00037079 | 0.0067647 | BLD | 0.0080937 | 0.0020385 | 0.15714
BLD: below limit of detction
Note on A8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Certified values? Source? Is this an in-house standard?

## A3
Table A3. Reference materials and values used forLA-ICP-MS data calibration and validation
UQAC-FeS-1 (Calibration)
Element | S | Fe | Co | Ni | Cu | Zn | As | Se | Mo | Ru | Rh | Pd | Ag | Cd | In | Sn | Sb | Te | Re | Os | Ir | Pt | Au | Hg | Pb | Bi
| % | % | ppm | % | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
Working values (UQAC) | 40 | 45 | 626 | 2.4 | 2.2 | 271.3 | 1048.8 | 329.4 | 66.2 | 65.7 | 61.2 | 47.4 | 154.9 | 1.9 | 9.2 | 180.8 | 95.8 | 139.4 | 67.6 | 81.6 | 57.8 | 51 | 62.6 | 46.8 | 94.3 | 120.7
σ | 0.0009 |  | 5 | 0.0004 | 0.0005 | 1.4 | 4 | 4 | 3 | 5 | 3 | 1.6 | 3 | 4 | 6 | 1.7 | 3 | 6 | 11 | 7 | 8 | 3 | 1.3 | 5 | 0.9 | 0.7
Po727 (Calibration)
Element | S | Fe | Co | Ni | Cu | Zn | As | Se | Mo | Ru | Rh | Pd | Ag | Cd | In | Sn | Sb | Te | Re | Os | Ir | Pt | Au | Hg | Pb | Bi
| % | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
Working values (Certificate) | 39.09 | 61.07 | 4.99 | 143 | 19 | 4 | 1.88 | n.d. | n.d. | 36.5 | 41.6 | 43.4 | 0.06 | n.d. | n.d. | 0.36 | n.d. | n.d. | n.d. | 46.7 | 48 | 35.5 | 45.8 | n.d. | 0.07 | 0.03
σ | 0.16 | 0.21 | 0.1 | 15 | 2.7 | 0.5 | 0.2 |  |  | 0.3 | 0.3 | 0.3 | 0.01 |  |  | 0.07 |  |  |  | 2.6 | 1.2 | 0.8 | 2.4 |  | 0.02 | 0.02
JB-MSS5 (Monitor)
Element | S | Fe | Co | Ni | Cu | Zn | As | Se | Mo | Ru | Rh | Pd | Ag | Cd | In | Sn | Sb | Te | Re | Os | Ir | Pt | Au | Hg | Pb | Bi | Total %
| % | % | ppm | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
Working values (UQAC) | 40.47 | 57 | 0.28 | 1.0487 | 208 | n.a | 79 | 47.27 | 0.23 | 21.68 | 61.4 | 65.2 | 53 | 0.13 | n.a | 0.34 | 61.3 | 44 | 20.7 | 42.58 | 40.21 | 39.9 | 35.9 | 1.38 | 71.5 | 76.1
σ | 0.6 | 0.9 | 0.02 | n.d. | 24 |  | 11 | 13.39 | 0.02 | 2.31 | 7.2 | 5.1 | 4.9 | 0.04 |  | 0.03 | 7.3 | 3 | 0.41 | 0.93 | 0.53 | 1 | 4.8 |  | 4.5 | 2.9
Based on | Po-727 | Po-727 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1 | UQAC-FeS-1
This study average (n =7) | 40.7514 | 58.18 | 0.9 | 1.0871 | 217.0773 | 23.2597 | 60.6871 | 69.3743 | 0.39284 | 19.7516 | 19.7516 | 61.1637 | 64.0232 | 0.17866 | n.a. | n.a. | n.a. | n.a. | 29.9519 | 52.6053 | 43.5425 | 41.7917 | 37.7044 | n.a. | 86.7508 | n.a. | 100.0403
σ | 1.9727 | 1.9489 | 0.2 | 0.051554 | 12.8048 | 10.5679 | 6.234 | 6.8103 | 0.081278 | 2.1224 | 2.1224 | 4.2628 | 3.903 | 0.14792 |  |  |  |  | 0.86115 | 5.1873 | 8.1426 | 2.607 | 3.1615 |  | 8.0233 |  | 0.027643
n.a. = not analyzed
n.d. = not determined

## A4
Table A4. Calculated parental and derivative magma compositions for the Chilas Complex
Elements | Bi ppm | Te ppm | Se77 ppm | Au ppm | Pd ppm | Cu % | Pt ppm | Rh ppm | Ru ppm | Ir ppm | Ag ppm
Sulfide melt SLI (Average of all MSS and Cu-rich inclusions in K3, K11, and K11b) | 0.79727 | 12.5801 | 227.9179 | 1.3381 | 8.0737 | 8.5558 | 0.46903 | 0.10461 | 0.031802 | 0.040478 | 22.0248
Elements | Bi ppm | Te ppm | Se77 ppm | Au ppb | Pd ppb | Cu ppm | Pt ppb | Rh ppb | Ru ppb | Ir ppb | Ag ppm
Parental melt @ R factor of 1000 | 0.0034514 | 0.012777 | 0.64167 | 1.5489 | 8.106 | 142.4543 | 0.46912 | 0.10503 | 0.031846 | 0.040518 | 0.049506
Parental melt @ R factor of 3000 | 0.0029223 | 0.0044012 | 0.49021 | 0.6582 | 2.7307 | 85.5295 | 0.15684 | 0.035382 | 0.010673 | 0.013569 | 0.034861
Parental melt @ R factor of 10 000 | 0.002737 | 0.0014672 | 0.43714 | 0.34617 | 0.84765 | 65.5879 | 0.04745 | 0.010983 | 0.0032556 | 0.0041283 | 0.02973
Derivative melt after segregation of sulfides | 0.0026576 | 0.00020932 | 0.4144 | 0.21239 | 0.040369 | 57.0387 | 0.0005518 | 0.00052306 | 7.5719e-05 | 8.0956e-05 | 0.027531
Elements | Bi ppm | Te ppm | Se77 ppm | Au ppm | Pd ppm | Cu % | Pt ppm | Rh ppm | Ru ppm | Ir ppm | Ag ppm
Sulfide melt SLII (Average of MSS and Cu-rich inclusions in K3, K11, and K11b, excluding the ISS-type inclusions) | 0.61244 | 8.093 | 95.7696 | 0.34837 | 3.5495 | 6.7953 | 0.11977 | 0.1036 | 0.031802 | 0.038119 | 14.6147
Elements | Bi ppm | Te ppm | Se77 ppm | Au ppb | Pd ppb | Cu ppm | Pt ppb | Rh ppb | Ru ppb | Ir ppb | Ag ppm
Parental melt @ R factor of 1000 | 0.0026344 | 0.0094105 | 0.27113 | 0.40327 | 3.5637 | 113.1413 | 0.1198 | 0.10401 | 0.031846 | 0.038158 | 0.033281
Parental melt @ R factor of 3000 | 0.002228 | 0.0040232 | 0.20749 | 0.17136 | 1.2005 | 67.93 | 0.040052 | 0.035039 | 0.010673 | 0.012778 | 0.023564
Parental melt @ R factor of 10 000 | 0.0020856 | 0.002136 | 0.18519 | 0.090126 | 0.37266 | 52.0919 | 0.012117 | 0.010877 | 0.0032556 | 0.0038878 | 0.020159
Derivative melt after segregation of sulfides | 0.0020246 | 0.0013269 | 0.17563 | 0.055297 | 0.017748 | 45.3018 | 0.00014091 | 0.000518 | 7.5719e-05 | 7.6239e-05 | 0.0187